## brainsignal_hci_model
category | attribute | attribute_description | example_text | example_ref
Technical Aspects of Recording | Type of Sensor | For a given brain sensing modality, report the manufacturer and the specification of the sensor chain employed. | The EEG was recorded using a NeuroScan system with 32 Ag-AgCl electrodes | lee2014
Technical Aspects of Recording | Sensor Position | Report where on the scalp electrodes are positioned. For EEG, this is most often done in terms of the 10-20 positioning system or its refinements. For fNIRS, the placement of transmitters and receivers has to be distinguished and the respective distances need to be reported. | Electrodes were positioned according to the extended 10-20 system on CPz, POz, Oz, Iz, O1 and O2 | Evain:2017:ITS:3025453.3026037
Technical Aspects of Recording | Sampling Rate | Report the number of samples recorded per second in Hz. | A sampling rate of EEG signals was set as 300 Hz. | Terasawa:2017:TLS:3136755.3136772
Technical Aspects of Recording | Measurement Quality | For EEG, the threshold for the maximum impedance level (in k&Omega;) is often reported. For fNIRS, no standardized quality measurement exists, different devices provide different ways of measurement (e.g. photon count). | electrode impedance was below 5 K&Omega; | vi2014
Technical Aspects of Recording | Reference | Specific to the EEG signal, it is custom to report the electrode to which the recording was referenced. | Two electrodes were located at both earlobes as reference and ground. | Terasawa:2017:TLS:3136755.3136772
Technical Aspects of Recording | Auxiliary signals | The brain sensing modality may not be the only signal, which is captured during the experiment. Often, other sensors, such as eye trackers or heart rate monitors are employed. For these, similar information as for the brain sensing modality may be reported, especially about the specific type of sensor and its placement. | Eye positions were measured with an embedded infrared eye-tracking module: aGlass DKI from 7invensun (https://www.7invensun.com) | Ma:2018:CBI:3172944.3172988
Technical Aspects of Recording | Synchronization with stimuli and other signals | For analyzing a continous stream of brain signal data, it needs to be synchronized to the events of the experiments (and potentially any other signal sources). This can be done through timestamps, trigger signals, light sensors or other means and the method may be reported to determine the precision of the achieved synchronization. | A parallel port connection between recording PC and experimental PC synchronized the EEG recording with the experimental events, such as the sound onset and button press. | Glatz:2018:URS:3173574.3174046
Technical Aspects of Recording | Recording Environment | This point reports where and under what conditions the experiment was conducted. Of relevance can be the conditions regarding control of light, sound, electromagnetic fields as well as the positioning of the participant. This attribute is often illustrated through a photo or video of the environment. | #Scanners was presented in an intimate 6 person capacity cinema, within a caravan [...]. The space had no windows, low lighting, plush seating, an eight foot projected image, and stereo speakers. Figure 3 [shows a] participant wearing the EEG device, experiencing #Scanners inside the caravan. | Pike:2016:SEC:2858036.2858276
Task Description | Participant Restraints | This attribute relates to any instructions or physical restraints, which were in place during the experiment to avoid artifacts or other undesired effects influencing the signal. | the participants were instructed to refrain from excessive movement by keeping arms at rest on the table in a position that allowed them to reach the keyboard without excessive movement. | Crk:2015:UPE:2872314.2829945
Task Description | Output devices | Describes through which devices (e.g., computer screen, mobile phone, etc.) information and material is communicated to the user. As many brain activity patterns are sensitive to the specific characteristics of the stimulation, details of the presentation may be reported. | The [...] game stimulus was run on a powerful high-end gaming PC (CPU: Intel® Core ™ i7-6850K @ 3.60 GHz; RAM: 32 GB; GPU: NVIDIA Geforce GTX 1080) and displayed on a 27-inch BenQ ZOWIE XL2720 144 hz gaming monitor at a 1920x1080 resolution. | TERKILDSEN201964
Task Description | Input devices | Describes through which devices (besides the brain signal itself) the user communicates commands and other types of input to the system. | HMD-mounted Leap Motion (https://www. leapmotion.com) to track participants’ hands. | skola2019
Task Description | User Input | Describes which kind of commands and input users can enter into the system at which point of the task. May specify which input devices are used and whether there are any requirements or restrictions to the input. | They had to respond to auditory notifications whenever one was presented, with a button press using either their left or right index fingers. Six notifications (i.e., 3 complementary pairs of verbal commands and auditory icons) were pre-assigned to a left index-finger press and the remaining six, to a right index-finger press. | Glatz:2018:URS:3173574.3174046
Task Description | Middleware/ Communication | For interactive applications or distributed recording setups, this attribute reports how the different parts communicate to exchange data, triggers, commands, etc. | We wrote a custom Java bridge program to connect the headset to the Android OS and Unity application on the Game tablet. The Java program polled the headset 60 times a second for EEG power spectrum [...] We connected the Calibrate tablet to the Game tablet using WiFi Direct [...]. | Antle:2018:OUD:3175498.3131607
Task Description | Framework/ Technical platform | What software or development toolkit (in what version) was used as the foundation to implement the task (e.g., PsychoPy, Unity, etc.) | The scene was developed using Unity version 2017.3.0f3, for the representation of hands, the realistically looking hand models ``Pepper Hands'' from Leap Motion suite were used (visible in Figure 3). | skola2019
Task Description | Task Functionality | Reports what functionality the involved software provides to the user (in the case of a working interactive application) and how it responds to different user input. For experiments which are based on or inspired by established paradigms (e.g., from cognitive psychology), this source may be reported (e.g., in reference to a source such as the Cognitive Atlas. | the main task for the study is a multi-robot version of the task introduced in [27]. Participants remotely supervised two robots (the blue robot and the red robot) that were exploring different areas of a virtual environment. Participants were told that the two robots had collected information that needed to be transmitted back to the control center. [continues...] | Solovey:2012:BEI:2207676.2208372
Task Description | Architecture | For experiments which involve non-trivial custom software artifacts, this attribute reports the underlying software architecture, informing about structure of and information flow between modules.
Task Description | Stimulus Material | For tasks which involve the repeated presentation of uniform stimuli (e.g., pictures to rate, text prompts to enter, etc.), this attribute reports the form of these stimuli (e.g., picture size, length, language, etc.) and their source. | To prepare experimental materials, a dataset of notifications from the websites Notification Sounds and Appraw were collected. Seven musically trained raters were recruited to determine the melody complexity of the 40 notifications. […] (The stimuli can be downloaded at https://goo.gl/SnZrzG). | Cherng:2019:MIM:3290605.3300639
Task Description | Visualization provided? | This attribute reports visually (through screen shots or video) the task as shown to the user. If the task has multiple distinct parts, all of them may be visualized. If the task is not in English, the visualization may be accompanied by a translation.
Task Description | Timing | Reports on if and how the task is (partially) paced by an internal clock, for example for controlling the duration for stimulus presentation or the time time for responding to a prompt. | Each trial began with a black screen for 3s, followed by a fixation dot in the center of the screen for 200ms. After that, the screen remains clear for 200ms before one of four stimuli was displayed for 300ms. | Vi:2014:ERN:2611222.2557015
Task Description | Code for task provided? | Reports on whether the task is provided in source code or an executable file and under what licence. If custom hardware is involved, this could also include a blueprint or a circuit diagram.
Participants | Recruitment strategy | How where study participants recruited, e.g. through social media, in class, etc.? | A snowball procedure was used to gather the sample of study participants. The study was advertised via university courses, email and social media. | Johnson:2015:CGP:2702123.2702468
Participants | Incentives | What compensation (if any) was offered to study participants, e.g. money, class credit, etc.? What were the criteria for being eligible for the compensation? | Participants received monetary compensation for their participation (10 Euro). | Putze:2017:ACA:3136755.3136784
Participants | Age | How old are the participants (mean and standard deviation)? | mean age 24.53 (SD: 3.00) | Frey:2016:FEE:2858036.2858525
Participants | Gender | With what gender do participants identify (relative frequencies)? | 2 females and 9 males | Ma:2018:CBI:3172944.3172988
Participants | Occupation | What is the profession or - in case of students - the field of study of the participants? | Data were collected from 34 computer science undergraduates at the first two authors’ institution | Crk:2015:UPE:2872314.2829945
Participants | Inclusion or exclusion criteria | Where there rules on which participants were eligible to take part in the experiment and what were these criteria (e.g. handedness, disabilities, caffeine consumption, etc. | Each of the individuals was enrolled in at least one computer science course | Crk:2015:UPE:2872314.2829945
Participants | Approval of ethics committee | Was the study approved by an ethics committee? If so, by which one? | the experimental protocol was approved by the University Research Ethics Committee prior to data collection. | burns2015use
Experiment Flow | Experiment Structure | Order of different segments of the experiment, such as instruction, sensor placement, training, debriefing, etc. For ``in-the-wild'' experiments, which do not follow a fixed, predefined pattern, this attribute may report the boundary conditions and which parts of the experiment could be. | 5-10min of explanation (slideshow with a detailed description of the interface), 5min to set up the hardware, For each BCI paradigm: 10min of calibration, familiarization, 10min to play the game, 5min of rest, Questionnaires | Kosmyna:2015:AHL:2785963.2723162
Experiment Flow | Instructions | Instructions given to the participants regarding purpose of experiment, experiment setup, task operations, restrictions, safety considerations, etc. If possible, the written instruction documents may be provided. | Participants were instructed to focus visual attention on a target symbol, whilst silently counting the number of times the target character flashed. | Obeidat:2013:ZPN:2522848.2522880
Experiment Flow | Training procedure | This attribute reports about how the participants familiarized themselves with the task. it may report the duration of training, specific training conditions compared to the main experiment, and specific training instructions. | All participants first undertook a training task where they played 15 easy and 15 hard pieces on the piano. Each piece was 30 seconds long with a 30-second rest between each piece. | Yuksel:2016:LPB:2858036.2858388
Experiment Flow | Trial ordering | For any experiment that is organized in trials, this attribute reports how the ordering of the blocks was derived. It may report whether and how ordering differed between participants. | The order of conditions was counter-balanced across subjects and participants wore the fNIRS device during both trials so they did not notice a difference between the two conditions. | Afergan:2014:DDU:2611222.2557230
Experiment Flow | Repetitions, blocks & breaks | This attribute reports the larger structure of the experiments, such as blocks of trials and their duration, ordering as well as pauses between blocks. If applicable also reports stopping criteria, if these are individual. | Each session comprised four testing blocks: two using club ambient noise and two using city street ambient noise as standard stimuli. Between any two consecutive blocks, subjects had three minutes to rest. | Lee:2014:EAE:2556288.2557076
Experiment Flow | Pre-study screenings | Reports any procedures prior to the experiment that determine the eligibility of a participant for the study, their assignments to an experiment group or other aspects of the experiment process. | None of the subjects had any history of brain disease, drug use, or hearing problems. None had any musical expertise. | Lee:2014:EAE:2556288.2557076
Experiment Flow | Questionnaires | Reports which questionnaires were administered before, during and after the experiment. May give a reference to a published questionnaire or list the items of a custom one. May also report when and how often questionnaires were administered and through what means (paper or computer-based). | At the end of the evaluation, end-users were asked to complete the NASA-TLX, the eQUEST 2.0, and a customized usability questionnaire. [...] After each session was complete, the therapist station would automatically open up on the laptop and ask the user to answer, How satisfied were you with the BCI session? (with 10 being very satisfied and 0 is not satisfied) [continues ...] | miralles2015brain
Data Processing | Derivation of labels | Outside neurofeedback applications the recorded brain signal data is distributed between multiple groups or assigned a continuous value. This attribute may report how the label is derived from the collected data (e.g., defined by the experiment structure, by questionnaire responses, or external ratings). | We considered the mean of the three NASA-TLX parameters (effort, mental demand and frustration) to evaluate the overall mental workload. The average score was thresholded at the mean value of 2 (since the used scale was 0–4) to quantize or characterize a parameter block as inducing low/high workload. | Bilalpur:2018:EEC:3242969.3243016
Data Processing | Data transformation | This attribute refers to all processing steps which transform raw data while keeping it in the original time-domain representation. Examples of such transformation steps are: re-referencing, baseline normalization, downsampling, etc. | the common average was subtracted from all EEG channels. | Lampe:2014:BIH:2557500.2557533
Data Processing | Filtering | This attribute reports any filtering of the data. This may include the type of filter applied as well as necessary parameters, such as the filter order. | EEG data was first low-pass filtered with a cutoff frequency of 50hz and high-pass filtered with a cutoff frequency of 0.16hz, both using a third-order butterworth filter | Rodrigue:2015:SDD:2678025.2701382
Data Processing | Windowing | This attribute reports how segments of data are aligned (e.g., locked to an event in the experiment), how long they are and with which window function they are extracted. | The data was then segmented into 1.5-second epochs, overlapping each previous epoch by 50% | Rodrigue:2015:SDD:2678025.2701382
Data Processing | Artifact cleaning | Reports through which algorithms (beyond filtering) artifacts were removed and which artifacts are targeted. | Independent Component Analysis (ICA) is applied [...] The components are first filtered using a band-pass filter with cut off frequencies 1 - 6 Hz. Choosing the component with the highest energy [and] applying a high-pass filter with a cut off frequency of 20 Hz. | Jarvis:2011:MPI:2070481.2070516
Data Processing | Hyperparameter optimization | For machine learning models, this attribute reports how the hyperparameters of the model were chosen (e.g. through grid search) and which hyperparameters where chosen in the final model. This also includes other parameters of the processing pipeline which are optimized (e.g. in preprocessing). | A grid search was performed to optimize sigma for all participants, the remaining parameters were left as default. | Rodrigue:2015:SDD:2678025.2701382
Data Processing | Outlier handling | Reports any methods for excluding certain samples, windows, or sessions based on the contained data or other external factors. | Any rest or trial period with 20 percent or higher error rate is considered noisy and can be excluded from the analysis | Crk:2015:UPE:2872314.2829945
Data Processing | Feature extraction | This attribute reports on how a feature vector for classification or regression is calculated from the preprocessed data. | [W]e partitioned each data window into smaller segments of 50 ms length. We then used the signal mean of the segment, calculated on the band-pass filtered signal, with cutoff frequencies at 4 and 13 Hz (i.e. &theta;- and &alpha;-bands). | Putze:2017:ACA:3136755.3136784
Data Processing | Feature selection | This attribute reports on procedures to reduce the number of features automatically. | we performed a feature selection using the Fisher ratio as selection criterion. The number k of selected features [...] was a tuning parameter in the range between 5 and 50. | Putze:2017:ACA:3136755.3136784
Data Processing | Learning model | This attribute reports on the specific machine learning model that is employed (if any) to perform classification or regression. | the Neural Network Toolbox of MATLAB was used to create an artificial neural network (ANN) with 198 inputs, 20 hidden neurons and 4 outputs. The patternnetfunction, which creates a feed-forward neural network, was used. [...] | Lampe:2014:BIH:2557500.2557533
Data Processing | Evaluation procedure | For machine learning models, this attribute reports how they were evaluated to assess their performance. This involves the exact metric used for assessment as well as the approach to (sometimes repeatedly) determine test and training data sets. | To assess the classifiers’ performance on the calibration data, we used 4-fold cross-validation (CV). [...] The performance was measured using the area under the receiver-operating characteristic curve (AUROCC). | Frey:2016:FEE:2858036.2858525
Data Processing | Processing code provided? | Reports if the code for processing the brain signal data is released with the paper or in a separate repository. If the code cannot be provided, as a substitute it is possible to report the employed frameworks (e.g. EEGLAB). | The full classification pipeline is implemented in Python. For EEG processing, we use the MNE toolbox [17]. For machine learning and evaluation algorithms, we use scikit [28] and custom routines build on numpy and scipy. | Putze:2017:ACA:3136755.3136784
Brain Signal Integration | Brain Input effect | This attribute describes how the output of the brain input processing influences the design, the behavior, or the content of the application or experimental paradigm. | when the system was confident that the user was in a state of low or high workload, one UAV would be added or removed, respectively. After a UAV was added or removed, there was a 20 second period where no more vehicles were added or removed. | Afergan:2014:DDU:2611222.2557230
Brain Signal Integration | Type of integration | This attribute describes the algorithmic implementation of the brain signal integration, i.e., whether an explicit conditional statement, an Influence Diagram, a state graph, or a different way of behavior modeling was used. | [The self-correction algorithm] inspects the probability distribution [...] and picks the now highest scoring class [...]. [W]e only used the second best class if its re-normalized confidence [...] is above a certain threshold T [...]. Otherwise, the user was asked to repeat the input. | Putze:2015:DES:2702123.2702184